## Slide 2
Community Amplicon Sequencing (iTag)
QB3 Functional Genomics & Genomics Sequencing Labs Services and Technologies
Dylan Smith
Facility Manager, Genomics Sequencing Laboratory

## Slide 3
NGS on Illumina sequencers
Notes: Need to dbl check on the last terms

## Slide 4
  Amplicons are generated via PCR with highly specific primers
  PCR primers carry unique built-in barcodes/tags/indices, adapters
  Tagged amplicons are pooled, sequenced in parallel
  Barcodes used to “demultiplex” data pool back to original samples
Amplicon sequencing for community analysis
Notes: Need to dbl check on the last terms

## Slide 5
  Amplicons are generated via PCR with highly specific primers
  PCR primers carry unique built-in barcodes/tags/indices, adapters
  Tagged amplicons are pooled, sequenced in parallel
  Barcodes used to “demultiplex” data pool back to original samples
Amplicon sequencing for community analysis
Notes: Need to dbl check on the last terms

## Slide 6
  Amplicons are generated via PCR with highly specific primers
  PCR primers carry unique built-in barcodes/tags/indices, adapters
  Tagged amplicons are pooled, sequenced in parallel
  Barcodes used to “demultiplex” data pool back to original samples
Amplicon sequencing for community analysis
Notes: Need to dbl check on the last terms

## Slide 7
Tagged (barcoded) amplicon sequencing
  Could theoretically be any locus from any organism
  Microbial communities lend themselves well to community amplicon sequencing because they are
    Small, hard to see and find
    Superabundant
    Often cryptically defined
    Distribution is poorly understood
What is iTag?
Notes: Need to dbl check on the last terms

## Slide 8
Tagged (barcoded) amplicon sequencing
  Could theoretically be any locus from any organism
  “iTag” experiments most typically sequence a barcoding gene
  Microbial communities lend themselves well to community amplicon sequencing because they are
    Small, hard to see and find
    Superabundant
    Often cryptically defined
    Distribution is poorly understood
What is iTag?
Notes: Need to dbl check on the last terms

## Slide 9: Amplicon sequencing for community analysis
Filtered reads are assigned taxonomy by aligning against a database of known, taxonomically assigned reads
Notes: Need to dbl check on the last terms

## Slide 10: Amplicon sequencing for community analysis
  The point of community amplicon sequencing is to identify, or barcode, organisms from complex communities via specific DNA markers
Filtered reads are assigned taxonomy by aligning against a database of known, taxonomically assigned reads
Notes: Need to dbl check on the last terms

## Slide 11
Example
  What is the total microbial diversity in a given environment?
    How many species are there? (Alpha diversity)
    What is the community structure of that diversity? (Beta diversity)
  How does that diversity change between environments?
Microbial Community Analysis
Notes: Need to dbl check on the last terms

## Slide 12
iTag Metagenomics
Metagenomics
  Shotgun sequencing of randomly sheared and size-selected gDNA fragments from a microbial community
  Can gain functional information from communities
  Often requires extensive sequencing, more expensive
iTag
  Sequencing of highly specific loci determined by choice of PCR primers and experimental design
  Usually does not contain a functional aspect
  Loci chosen for taxonomic resolution and phylogenetic relevance
Notes: Why do you gain functional in from Metagenomics and not from iTag. What is the data the you get that = function

## Slide 13
iTag Metagenomics
Metagenomics
  Shotgun sequencing of randomly sheared and size-selected gDNA fragments from a microbial community
  Can gain functional information from communities
  Often requires extensive sequencing, more expensive
iTag
  Sequencing of highly specific loci determined by choice of PCR primers and experimental design
  Usually does not contain a functional aspect
  Loci chosen for taxonomic resolution and phylogenetic relevance
Notes: Why do you gain functional in from Metagenomics and not from iTag. What is the data the you get that = function

## Slide 14
Metagenomics
  Can paint a broad picture of a microbial community
  Can include:
    Taxonomic ID
    Function
    Activity (transcriptomics)
iTag
Who’s there?
How many are there?
Who is dominant/rare?
How do all these observations change between environment and why?
iTag Metagenomics
Notes: How would you measure biomass? So ddPCR or qPCR would be a better measure for absolute count.

## Slide 15
Metagenomics
  Can paint a broad picture of a microbial community
  Can include:
    Taxonomic ID
    Function
    Activity (transcriptomics)
iTag
Who’s there?
How many are there?
Who is dominant/rare?
How do all these observations change between environment and why?
iTag Metagenomics
Notes: How would you measure biomass? So ddPCR or qPCR would be a better measure for absolute count.

## Slide 16
iTag is a ”counting-based” analysis
Coverage is typically a metagenomics word
Reads per sample is more appropriate and specific to an iTag experiment
Reads recovered from your sequencing run are treated as analogous to biological occurrence of an organism
  Cannot be used as an absolute measure
  Between sample comparison is valid
Notes: How would you measure biomass? So ddPCR or qPCR would be a better measure for absolute count.

## Slide 17: iTag – Amplicon sequencing for community analysis
Notes: Need to dbl check on the last terms

## Slide 18
Experimental design (this is the most important part)
Library prep
  gDNA extraction
  PCR amplification (can be one-step or two-step PCR design)
  Library quantification/qualification, QC
  Normalization and pooling
Sequencing
Filtering/processing of raw reads (read pairing)
OTU/ASV table x sample
Statistical analysis
Typical iTag Workflow
Notes: New slide with greyed out text, black is library prep and sequencing

## Slide 19
Which organism(s) do I want to sequence?
What is the goal of my study?
  Taxonomic ID
  Phylogenetics
  Function
What is the predicted diversity within my environment?
iTag Library Prep: Choice of locus
Notes: Genetic diversity within the actual target (specific variants) must be enough to differentiate your family/species/goal. Give examples.

## Slide 20
Factors to consider
  Mutation rate
    Am I likely to be comparing species or larger taxonomic guilds?
  Length
    Which sequencing platform will I eventually run my samples on? Do I want overlap? (yes)
  Utility of taxonomic information
    Are there good, reliable databases for my locus?
When in doubt, a literature search is usually the best course for determining the right locus/primer choice for your study.
iTag Library Prep: Choice of locus
Notes: Need to dbl check on the last terms

## Slide 21
Factors to consider
  Mutation rate
    Am I likely to be comparing species or larger taxonomic guilds?
  Length
    Which sequencing platform will I eventually run my samples on? Do I want overlap? (yes)
  Utility of taxonomic information
    Are there good, reliable databases for my locus?
When in doubt, a literature search is usually the best course for determining the right locus/primer choice for your study.
iTag Library Prep: Choice of locus
Notes: Need to dbl check on the last terms

## Slide 22
Bacteria/Archaea: 16S rRNA gene
Fungi: Internal Transcribed Spacer rRNA
Common Barcoding Regions for Microbes
http://help.bioiplug.com/16s-rrna-and-16s-rrna-gene/
https://mycology.adelaide.edu.au/descriptions/
Notes: Need to dbl check on the last terms

## Slide 23
Dimerization and secondary structures
  Self dimerization
  Cross dimerization
  Self complimentary
Melting temperatures
  Will my libraries be run with PhiX?
  PhiX is a common diversity and loading concentration control run with Illumina libraries
iTag Library Prep: Primer design
Notes: Tm is relevant for sequencing primers. Differentiate PCR issues and sequencing primer issues.
1- Do they follow Illumina specs or they wont work at all
2- if you need PhiX will your custom primers interfere with PhiX sequencing.
Provide illumina tech support email or talk to us if they aren’t helpful.

## Slide 24
iTag Library Prep: Primer design
Notes: Need to dbl check on the last terms

## Slide 25
iTag Library Prep: Primer design
Notes: Need to dbl check on the last terms

## Slide 26
iTag Library Prep: Primer design
Notes: Need to dbl check on the last terms

## Slide 27
iTag Library Prep: Primer design
Notes: Need to dbl check on the last terms

## Slide 28
iTag Library Prep: Primer design
“Linker”
  Short (typically 2-3bp) intentional mismatch to your organism’s genome
  Designed to have the 5’ end of the primer physically hang off the genomic template
  Thought to decrease overall PCR primer bias of certain taxa over others
Notes: Add imagine for context to where these are. Grey and black parts, make multiple slides.

## Slide 29
iTag Library Prep: Primer design
”Pad”
  Stretch of random bases designed into PCR primers that is NOT designed to match any actual genomic sequence
  Bases provide space (length) on which sequencing primers sit
  Pad may provide additional chemistry advantages (think dimerization and melting temperatures) for the PCR primer
Notes: Add imagine for context to where these are. Grey and black parts, make multiple slides.

## Slide 30
Sequence diversity at every base position matters!
iTag Sequencing
Notes: Need to dbl check on the last terms

## Slide 31
Sequence diversity can be added into primer design
Sequence multiple loci at once
”N stagger”
“N shuffle”
iTag Sequencing
…TGAGACTTNGTGCCAGCMGCC…
…TGAGACTTNNGTGCCAGCMGCC…
…TGAGACTTNNNGTGCCAGCMGCC…
…TGAGACTTNNNNGTGCCAGCMGCC…
…TGAGACTTNNNNNGTGCCAGCMGCC…
…TGAGACTTNNNNNGTGCCAGCMGCC…
…TGAGACTTNNNNNGTGCCAGCMGCC…
…TGAGACTTNNNNNGTGCCAGCMGCC…
…TGAGACTTNNNNNGTGCCAGCMGCC…
Notes: Switch out with Ns. Gray and black?

## Slide 32
16S – V3/V4 hypervariable regions
  Fwd 515Fb, Rev 806Rb
ITS – Smith/Peay ITS1
  Fwd Smith/Peay ITS1f, Rev Smith/Peay ITS2
~ 50% of reads are “flipped” in orientation
Currently running single-locus amplicon pools with 20M-25M read return, 0% PhiX
iTag Library Prep/Sequencing at Berkeley
Notes: Need to dbl check on the last terms

## Slide 33
Which sequencer should I use?
How many bases should I run?
Should I do paired end reads?
How many reads do I need?
What are the proper controls for my study?
When in doubt, try a literature search
Common iTag sequencing questions
Notes: Need to dbl check on the last terms

## Slide 34
Which sequencer should I use?
How many bases should I run?
Should I do paired end reads?
How many reads do I need?
What are the proper controls for my study?
When in doubt, try a literature search
Common iTag sequencing questions
Notes: Need to dbl check on the last terms

## Slide 35
Basic Illumina Stats
MiSeq
HiSeq 2500 Rapid
15-25 million reads (v3 chemistry
300PE run ~4 days
Single lane
100-150 million reads per lane*
Run type (# of cycles) more flexible, faster
*Usually must run two lanes
Notes: Put asterisk info at bottom of slide in small letters if you what to keep it,

## Slide 36
Benefits of paired end reads
Lindgreen 2012, BMC research notes
Edgar & Flyvbjerg 2015, Bioinformatics
Notes: Need to dbl check on the last terms

## Slide 37
How many reads do I need?
Vic et al. 2013, Scientific Reports
Notes: Need to dbl check on the last terms

## Slide 38
How many reads do I need?
Smith & Peay 2014, PLoS ONE
Notes: Need to dbl check on the last terms

## Slide 39
Controls – PCR replication
Smith & Peay 2014, PLoS ONE
PCR replication – a common practice not rooted in scientific benefit!
Notes: Need to dbl check on the last terms

## Slide 40
Smith & Peay 2014, PLoS ONE
Controls – PCR replication
Notes: Need to dbl check on the last terms

## Slide 41
Controls – mock community
Comaeu et al. 2017, mSystems
Notes: Need to dbl check on the last terms

## Slide 42
Controls & other concerns
Nguyen et al. 2015, New Phytologist
Negative controls
OTU clustering methods
Low abundance OTUs
Singletons
Notes: Need to dbl check on the last terms

## Slide 43
Controls & other concerns
Nguyen et al. 2015, New Phytologist
Negative controls
OTU clustering methods
Low abundance OTUs
Singletons
Notes: Need to dbl check on the last terms

## Slide 44
OTUs vs ASVs
OTUs (Operational Taxonomic Units)
  Several to many sequences ”collapsed” into one reference sequence based on a discrete sequence similarity threshold
  Functionally equivalent to ”species”
  Several ways to delineate and pick OTUs
ASV (Amplicon Sequence Variants)
  Each sequence treated as a piece of data with a taxonomy assignment
  No sequence collapsing
  More
Callahan et al. 2017, ISME
Notes: Need to dbl check on the last terms

## Slide 45
iTag with PacBio
PacBio – Single molecule real time sequencing
Pros:
  Potential for much longer read length
  Better phylogenetic potential
  Better taxonomic assignments to reads
Cons:
  Significantly higher error rate*
  Significantly lower throughput
Notes: Need to dbl check on the last terms

## Slide 46
Genomics Core Seminar Series
THANK YOU!!!!